SELF ASSESSMENT COMPLIANCE CHECKLIST

FOR CONSTRUCTION TEMPORARY QUARTERS (CTQ) AND WORKERS’ QUARTERS ON TEMPORARY OCCUPATIONAL LICENCE (TOL) SITES

This self-assessment compliance checklist serves to assist you in identifying gaps in your dormitory’s compliance with MOM’s requirements for CTQs and TOLs.

Please note that this checklist is not exhaustive; CTQs and TOLs operators must also comply with the statutory requirements of other government agencies.

| Category |  | Description |
| --- | --- | --- |
| Living Space |  | 1. The workers' quarters must not be overcrowded, i.e. the number of bed spaces and the number of occupants are equal to/less than the occupancy load (OL) stipulated by a Qualified Person (QP) and declared to MOM. 2. Each worker is provided with a personal bed and locker. 3. Proper and adequate screens must be provided to ensure the living space is hidden from the public's view. 4. Perimeter hoarding to segregate workers' quarters from construction zone is at least 2 meters in height. 5. A minimum of 4.5 square meters of living space per worker. |
| Fire Safety |  | 6. There are no highly flammable substances (e.g. LPGs, welding gas cylinders) found near the workers' quarters. 7. Adequate power points are provided. All power/electrical points in the workers’ quarters must not be overloaded. 8. All exits, escape routes and passageways in the quarters are free of obstruction at all times. 9. Adequate lights are installed in each room and corridor, such that workers can easily identify the fire safety routes and fire safety exits, in the event of a fire. |
| Cooking Area |  | 10. There must be a separate designated cooking area for the workers. The cooking area must NOT be located within the workers' rooms, i.e. workers must NOT cook in their rooms. |
| Lighting and Ventilation |  | 11. Adequate lights are installed for normal daily activities in all the rooms and corridors. 12. There is proper ventilation in the workers' rooms. Where necessary, fans or air-conditioning should be installed. |
| Sanitary and Bathing Facilities |  | 13. There are adequate sanitary and bathing facilities for all the occupants housed in the dormitory. (Note: Sanitary facilities such as 1 water closet, 1 wash basin, 1 bathroom, and 1 portable toilet must be provided for every 15 workers or less.) 14. All sanitary and bathing facilities are kept clean and in proper working condition. 15. Proper and adequate screens must be provided to ensure the sanitary and bathing facilities are hidden from the public's view. |
| Proper Housekeeping |  | 16. The workers' rooms are clean and well-maintained. 17. Laundry facilities or services are provided at the quarters. 18. There is a designated laundry area away from the workers' rooms, for workers to do their laundry. (Note: Drying of clothes within the workers' rooms are strongly discouraged as it often leads to poor ventilation.) 19. Proper food and waste disposal area is provided in the quarters. |
| Pest Infestation |  | 20. There are no pests (i.e. cockroaches, flies, rodents, bed bugs) in the quarters. 21. There is no stagnant water that could cause mosquito breeding. |
| Assess to Wi-Fi |  | 22. Free Wi-Fi is provided for workers in the quarters. (Note: Wi-Fi requirements is not compulsory for i) small quarters (<40 workers) and ii) on-site quarters located in areas that do not have the infrastructure (i.e. cables) to allow for Wi-Fi provision.) |
| Sick Bay |  | 23. Sickbay is provided on-site. (Note: If provision of sickbay is not feasible due to site constraints, the main contractor must have a contingency plan to isolate workers with infectious diseases.) |
| Feedback Channel |  | 24. Both the operator and the workers download the DormWatch app to provide and manage feedback. (DormWatch is an app that allows workers to provide feedback on the housing conditions to their dormitory operators, and for the operators to self-rectify. The app tracks the dormitory's responses to these feedback and notifies MOM if an issue has not been resolved after some time.) |

If you are unable to check any of the boxes above, you must to take immediate steps to rectify the issues.

UPDATING RESIDENTIAL ADDRESSES OF FOREIGN WORKERS WITH MOM

It is a legal requirement for employers to update their foreign workers’ residential addresses with MOM through the Online Foreign Workers Address Service (OFWAS), within 5 days of the worker moving to a new address. Please ensure that you do so for all your workers staying in the workers’ quarters, and remind all your sub-contractors who house their workers at your quarters to do so as well.

FOR MORE INFORMATION, YOU CAN ASSESS THE FOLLOWING URL:

Android users              iPhone users

DormWatch

Housing Requirements for FW

https://www.mom.gov.sg/housing

Updating the residential addresses of FW

http://www.mom.gov.sg/eservices/services/

ofwas

Work Pass Conditions

http://www.mom.gov.sg/Documents/services-

forms/passes/WPSPassConditions.pdf

Annex A

Examples of poorly maintained workers’ quarters

| Fire hazard materials and obstruction of exit | Overcrowding |
| --- | --- |
| Poorly maintained sanitary facilities | Pest infestation |
| Overloaded electrical power point | Poor housekeeping |

Annex B

Examples of well-maintained workers’ quarters

| Unobstructed walkway and exit | Ample living space |
| --- | --- |
| Well-maintained sanitary facilities | Well-maintained dining area |
| Correct use of power point | Good housekeeping |