SELF ASSESSMENT COMPLIANCE CHECKLIST

FOR FACTORY-CONVERTED DORMITORY (FCD) OPERATOR

This self-assessment compliance checklist serves to assist you in identifying gaps in your dormitory’s compliance with MOM’s requirements for FCDs.

Please note that this checklist is not exhaustive; FCD operators must also comply with the statutory requirements of other government agencies.

| Category |  | Description |
| --- | --- | --- |
| Approval |  | 1. The dormitory has obtained a temporary fire permit or fire safety certificate from SCDF and a Written Permission from URA to operate as a workers’ dormitory. |
| Overcrowding |  | 2. The number of bed spaces and/or number of occupants must not exceed the number specified or approved under the Written Permission issued by URA; and specified or approved under SCDF's FSSD-BP3 form. 3. No unauthorised partitioning. Operators should not house workers in areas that differ from the original plans submitted to the various government agencies during the approval stage. |
| Fire Safety |  | 4. There are no highly flammable substances (e.g. LPGs, welding gas cylinders) found near the workers' quarters. 5. Adequate power points are provided. All power/electrical points in the workers’ quarters must not be overloaded. 6. All exits, escape routes and passageways in the quarters are free of obstruction at all times. |
| Cooking Area |  | 7. There must be a separate designated cooking area for the workers. The cooking area must NOT be located within the workers' rooms, i.e. workers must NOT cook in their rooms. |
| Lighting and Ventilation |  | 8. Adequate lights are installed in each room and corridor, such that workers can easily identify the fire safety routes and fire safety exits, in the event of a fire. 9. There is proper ventilation in the workers' rooms. Where necessary, fans or air-conditioning should be installed. |
| Sanitary and Bathing Facilities |  | 10. There are adequate sanitary and bathing facilities for the total number of occupants housed in the dormitory. (Note: Sanitary facilities such as 1 water closet, 1 wash basin, 1 bathroom, and 1 portable toilet must be provided for every 15 workers or less.) 11. All sanitary and bathing facilities should be cleaned and in proper working condition. 12. Proper and adequate screens must be provided to ensure the sanitary and bathing facilities are hidden from the public's view. |
| Proper Housekeeping |  | 13. The workers' rooms are clean and well-maintained. 14. Laundry facilities or services are provided at the quarters. 15. There is a designated laundry area away from the workers' rooms, for workers to do their laundry. (Note: Drying of clothes within the workers' rooms are strongly discouraged as it often leads to poor ventilation.) 16. Proper food and waste disposal area is provided in the quarters. |
| Pest Infestation |  | 17. There are proper rubbish disposal areas that are properly managed. There is no pest infestation (i.e. cockroaches, flies, rodents). 18. There is no stagnant water that could cause mosquito breeding. |
| Personal Lockers |  | 19. Each worker shall be provided with a personal locker to store/keep their personal effects. |
| Assess to Wi-Fi |  | 20. Free Wi-Fi is provided for workers in the quarters. |
| Sick Bay |  | 21. Sickbay is provided on-site. (Note: If provision of sickbay is not feasible due to site constraints, the main contractor must have a contingency plan to isolate workers with infectious diseases.) |
| Feedback Channel |  | 22. Both the operator and the workers download the DormWatch app to provide and manage feedback. (DormWatch is an app that allows workers to provide feedback on the housing conditions to their dormitory operators, and for the operators to self-rectify. The app tracks the dormitory's responses to these feedback and notifies MOM if an issue has not been resolved after some time.) |

If you are unable to check any of the boxes above, you must take immediate steps to rectify the issues.

Android users              iPhone users

DormWatch

FOR MORE INFORMATION, YOU CAN ASSESS THE FOLLOWING URL:

Housing Requirements for FW

https://www.mom.gov.sg/housing

Updating the residential addresses of FW

http://www.mom.gov.sg/eservices/services/

ofwas

Work Pass Conditions

http://www.mom.gov.sg/Documents/services-

forms/passes/WPSPassConditions.pdf

Annex A

Examples of poorly maintained workers’ quarters

| Fire hazard materials and obstruction of exit | Overcrowding |
| --- | --- |
| Poorly maintained sanitary facilities | Pest infestation |
| Overloaded electrical power point | Poor housekeeping |

Annex B

Examples of well-maintained workers’ quarters

| Unobstructed walkway and exit | Ample living space |
| --- | --- |
| Well-maintained sanitary facilities | Well-maintained dining area |
| Correct use of power point | Good housekeeping |